## Slide 1: Best Practices for Wake Model and Optimization Algorithm Selection in Wind Farm Layout Optimization
SciTech 2018
BYU – IEA

## Slide 2
Notes: WIFM:
Placement of turbines is important due to wake
SADS

## Slide 3
Notes: WIFM:
Placement of turbines is important due to wake
SADS

## Slide 4
Notes: Waked rotors feel both:
1) Decrease wind velocity (so less power)
2) Increased stress (so shorter lifespan)
Maybe Jared’s graphic??

## Slide 5
Notes: Rotors in this waked area feel both:
1) Decrease wind velocity (so less power)
2) Increased stress (so shorter lifespan)
Maybe Jared’s graphic??

## Slide 6: Two Variables to Isolate

## Slide 7: Two Variables to Isolate
Wake Model

## Slide 8: Two Variables to Isolate
Wake Model
Optimization Method

## Slide 9: Wind Farm Scenario

## Slide 10: Wind Farm Scenario
Turbine

## Slide 11: Wind Farm Scenario
Turbine
Boundary

## Slide 12: Wind Farm Scenario
Turbine
Boundary
Wind Rose

## Slide 13: Wind Farm Scenario
Turbine
  IEA’s 3.35 MW reference
Boundary
Wind Rose

## Slide 14: Wind Farm Scenario
Turbine
  IEA’s 3.35 MW reference
  Cut-in at 9.8 m/s
Boundary
Wind Rose

## Slide 15: Wind Farm Scenario
Turbine
  IEA’s 3.35 MW reference
  Cut-in at 9.8 m/s
Boundary
  Circular
Wind Rose

## Slide 16: Wind Farm Scenario
Turbine
  IEA’s 3.35 MW reference
  Cut-in at 9.8 m/s
Boundary
  Circular
Wind Rose
  Bimodal

## Slide 17: Wind Farm Scenario
Turbine
  IEA’s 3.35 MW reference
  Cut-in at 9.8 m/s
Boundary
  Circular
Wind Rose
  Bimodal
  Off-axis

## Slide 18: Case Study 1

## Slide 19: Case Study 1
Optimization Only

## Slide 20: Case Study 1
Optimization Only
Bastankhah’s Gaussian Wake Model

## Slide 21: Case Study 1
Optimization Only
Bastankhah’s Gaussian Wake Model
.yaml input files, reader supplied

## Slide 22: Case Study 1
Optimization Only
Bastankhah’s Gaussian Wake Model
.yaml input files, reader supplied
3 wind farm sizes:

## Slide 23: Case Study 1
Optimization Only
Bastankhah’s Gaussian Wake Model
.yaml input files, reader supplied
3 wind farm sizes:
  16
  36
  64
Notes: We used perfect squares to permit grid formations
Sizes roughly double in size to test for scalability of design variables

## Slide 24: Case Study 2
Notes: Here we want to explore differences in wake models

## Slide 25: Case Study 2
Combined Optimization and Wake Model
Notes: But certain models preclude certain optimization methods,
so we had to let the participants pick both.

## Slide 26: Case Study 2
Combined Optimization and Wake Model
Cross-comparison for results
Notes: We didn’t have enough time to conduct an LES
Our analysis came from a cross-comparison of participant results through their individual models

## Slide 27: Results (cs1)

## Slide 28: Results (cs1)
Notes: Trends:
#2 incresed every time
#5 decreased every time
#1 kept getting best
Everyone improved on the provided example layout

## Slide 29: Results (cs1)

## Slide 30: Results (cs1)

## Slide 31: Results (cs1)

## Slide 32: Results (cs1)
Notes: Trend to notice here is that there is no general pattern – each had a different approach.
- sub4 was the best. Arrayed some on the outside, and then a row perpendicular to the wind rose
- sub2 used a rotational method to find superior result
- sub

## Slide 33: Results (cs2)
Notes: Interesting thing to notice here is that 1, 2, and 3 didn’t find their own placement as the best.
Means that there were optima with their model that their optimization method didn’t find – could be time, could be algorithm, could be pairing of algorithm with model.

## Slide 34: Time comparison
Notes: Of note, the top 3 submissions (#4, #2, and #10)
- All 3 used gradient-based methods
- Order of magnitudes on time are different
- Comparing 4 to 10, use of these methods is a time-tradeoff. In the 64 turbine case, sub4 found a superior result, but took about 4 times longer.
- The tradeoff in use would be time vs power – if you need a quick solution with

## Slide 35: Takeaways
In these scenarios, gradient based methods were superior
Intuitive rotation steps by sub2
Sampling done by sub4
Notes: ToDo:
1) Note that you corrected the 36 turbine case table from paper (insert #6)
2) Note that you corrected cs2’s naming in the results table for subs 4 and 5.